# Standard properties of biocompatible materials

A material is required to have a lot of standard properties to be classified as biocompatible. In detail:

- The material don’t must release soluble compounds in the organism (unless it has been designed for);

- The material don’t must be degradated by the organism;

- The material must have the suitable physical and mechanical properties and it must be manufactured in the proper form;

- The material must have the chemical properties appropriate to the physiological conditions;

- The material must be easily sterilized

- The material must be biocompatible